- هدف: - هدف از تدوین این دستورالعمل، تشریح روند اجرای کار با دستگاهUltra-pure water با نام تجاریMilipore ساخت کشور آمریکا می باشد. - دامنه عملکرد: - این دستور العمل در بخش های مختلف آزمایشگاه کاربرد دارد. - مسئولیت : - مسئولیت اجرای این دستور العمل با کارشناسان آزمایشگاه مربوطه می باشد. - 4- روش کار: - علامت + و – سمت راست دستگاه را همزمان فشار دهید. - اجازه دهید تا عدد18.2 MΩ.cm بر روی صفحه نمایشگر دستگاه ظاهر شود. - کلید آبی روی دستگاه را فشار دهید. - بعد از برداشت آب مورد نظر با فشار دادن همان کلید خروجی آب را قطع کنید. - سپس محافظ زیر شیر را در سر جای خود قرار دهید. # 1. Purpose The purpose of this procedure is to describe the operating procedure for the ultrapure water purification system, Millipore, manufactured in the USA. # 2. Scope This procedure is applicable to the various sections of the laboratory. # 3. Responsibility The responsibility for implementing this procedure rests with the relevant laboratory personnel. # 4. Operating Procedure - Press the + and − buttons located on the right side of the instrument simultaneously. - Allow the display to show a resistivity value of 18.2 MΩ·cm. - Press the blue button on the instrument. - After collecting the required amount of water, press the same button to stop the water flow. - Return the protective cover below the dispensing outlet to its proper position.